## Sheet1
Kentucky WAP QCI Final Inspection Checklist
Agency: |  |  | Client Name:
QCI: |  |  | Job# |  |  |  | Date:
Address:
Auditor/Estimator: | [5 empty] | Crew Leader:
Subcontractors:
Site-Built □ |  | Mobile □ |  | Manufactured □ |  | Multi-Family □ |  | Shelter □
Notes:
Blower Door Diagnostics
Pre:_______________@cfm50 |  |  | Post:______________@cfm50 |  |  | QCI final: ____________@cfm50
Attic zonal:____Pa |  | Crawl zonal:____Pa |  | Wall zonals (if DP): |  | Front: | Right: | Left: | Back:
[6 empty] | n/a □ | n/a □ | n/a □ | n/a □
Notes:
Ventilation - SWS 6.60 - 6.99
Dryer Vented? |  |  | □ Y □ N □ N/A |  | Quality dryer vent install? |  |  | □ Y □ N □ N/A
Rigid/Semi-Rigid ducting used? |  |  | □ Y □ N □ N/A |  | Ducting insulated? (R-8) |  |  | □ Y □ N □ N/A
Bath 1 |  | Bath 2 □ n/a |  | Bath 3 □ n/a |  | Kitchen:
vented? | □ Y □ N | vented? | □ Y □ N | vented? | □ Y □ N | vented? | □ Y □ N | gas? | □ Y □ N
cfm: |  | cfm: |  | cfm: |  | cfm:
window? | □ Y □ N | window? | □ Y □ N | window? | □ Y □ N | window? | □ Y □ N
Notes:
ASHRAE Compliance - SWS 6.9901.1
Target calculation present? |  |  | □ Y □ N | Post-calculation present? |  |  | □ Y □ N | correct? | □ Y □ N
Adjustment made at Final Inspection? |  |  |  | □ Y □ N | Continuous? |  | □ Y □ N | timer? | □ Y □ N
[5 empty] | de minimus (<15 cfm)? |  |  | □ Y □ N
Notes:
Heating/Cooling - SWS 5.30 - 5.33
Replacement? → |  | □ Y □ N | Documentation? |  | □ Y □ N □ N/A |  | Pictures? | □ Y □ N □ N/A
Repair? → |  | □ Y □ N | Documentation? |  | □ Y □ N □ N/A |  | Pictures? | □ Y □ N □ N/A
Filters left with client? |  |  | □ Y □ N □ N/A |  | Instructions for replacement? |  |  | □ Y □ N □ N/A
Clean and Tune? |  | □ Y □ N | Proper venting? |  | □ Y □ N □ N/A |  | Liner? | □ Y □ N □ N/A
Notes:
Ducts - SWS 3.16 & 4.1601
Duct air-sealing present? |  |  | □ Y □ N □ N/A |  | Duct insulation present? |  |  | □ Y □ N □ N/A
Duct R-value ≥ R-8? |  |  | □ Y □ N □ N/A |  | Boots/metal fittings insulated? |  |  | □ Y □ N □ N/A
Duct insulation grade: |  |  | Pass |  |  |  | Fail |  | □ N/A
|  |  | □ Grade I |  | □ Grade II |  | □ Grade III
|  |  | High Quality |  | Needs Improvement |  | Poor Quality
Total Duct Leakage (CFM 25) |  |  | Pre |  | QCI Post |  |  |  | □ N/A
Duct Leakage To Outside (CFM 25) |  |  | Pre |  | QCI Post |  |  |  | □ N/A
Duct Pressure (Pa)
Notes:
Combustion Safety - SWS 2.02
Appliance 1 N/A □ |  |  |  |  | Appliance 2 N/A □
Type: |  |  |  |  | Type:
□ NG | □ LP | □ Oil | □ Wood | □ Other | □ NG | □ LP | □ Oil | □ Wood | □ Other
Pre CAZ test complete? |  |  | □ Y □ N |  | Pre CAZ test complete? |  |  | □ Y □ N
Post CAZ test complete? |  |  | □ Y □ N |  | Post CAZ test complete? |  |  | □ Y □ N
Worst Case___ Pa |  | Spillage □ Pass □ Fail |  |  | Worst Case___ Pa |  | Spillage □ Pass □ Fail
Worst Case Draft ____Pa |  |  | □ Pass | □ Fail | Worst Case Draft ____Pa |  |  | □ Pass | □ Fail
Worst Case CO ____ppm |  |  | Amb. CO ____ppm |  | Worst Case CO ____ppm |  |  | Amb. CO ____ppm
Appliance 3 N/A □ |  |  |  |  | Gas Range N/A □
Type: |  |  |  |  | Distribution lines checked for leaks? |  |  |  | □ Y □ N
□ NG | □ LP | □ Oil | □ Wood | □ Other | Undiluted Oven CO reading |  |  | ________ | PPM
Pre CAZ test complete? |  |  | □ Y □ N |  | CO _____ |  | ←Rear→ | CO _____
Post CAZ test complete? |  |  | □ Y □ N
Worst Case___ Pa |  | Spillage □ Pass □ Fail |  |  | CO _____ |  | ←Front→ | CO _____
Worst Case Draft ____Pa |  |  | □ Pass | □ Fail
Worst Case CO ____ppm |  |  | Amb. CO ____ppm |  | Service required? |  |  | □ Y □ N □ N/A
Notes:
Health & Safety - SWS 2.03-2.07
Smoke alarm(s) present? |  |  | □ Y □ N |  | CO alarm(s) present? |  |  | □ Y □ N
Lead-based paint present? |  |  | □ Y □ N | Lead test in file? |  | □ Y □ N | Client Sign off? |  | □ Y □ N
Asbestos Containing Material (ACM) or Vermiculite addressed? □ Y □ N □ N/A | [8 empty] | ↓
Knob & Tube present? |  |  | □ Y □ N | Knob & Tube addressed? (2.0601.1) |  |  |  | □ Y □ N
Unvented Space Heater present? |  |  |  | □ Y □ N | Client CO acknowledgment? |  |  | □ Y □ N
Notes:
Base Load Measures - SWS 7.80-7.88
Lighting retrofit complete? |  |  | □ Y □ N | DHW tank insulated? (R-24) |  |  | □ Y □ N □ N/A
DHW tank replaced? |  |  | □ Y □ N | Documentation present in file? |  |  |  | □ Y □ N □ N/A
Water lines insulated 6' |  |  | □ Y □ N □ N/A |  | DHW temperature_________ F° |  |  | adjusted? | □ Y □ N
Low-flow showerheads? |  |  | □ Y □ N □ N/A |  | Aerators installed? |  |  | □ Y □ N □ N/A
Notes:
Attic - SWS 3.10 / 4.10
Attic Insulated? |  | □ Y □ N | Attic air-sealed? |  | □ Y □ N | Attic entry A/S and insulated? |  |  | □ Y □ N
Rulers present? |  | □ Y □ N | Flags? | □ Y □ N | Flue dam present? |  |  | □ Y □ N □ N/A
Insulation bag count/date present? |  |  |  | □ Y □ N | Knee walls addressed? |  |  | □ Y □ N □ N/A
Exhaust venting? |  |  | □ Y □ N □ N/A |  | Attic ventilation adequate? |  |  | □ Y □ N □ N/A
Attic Insulation grade: |  |  | Pass |  |  |  | Fail |  | □ N/A
|  |  | □ Grade I |  | □ Grade II |  | □ Grade III
|  |  | High Quality |  | Needs Improvement |  | Poor Quality
Mobile home roof blow? |  |  | □ Y □ N □ N/A |  | Roof patching present? |  |  | □ Y □ N □ N/A
Notes:
Walls - SWS 3.11 / 4.11
Bag count info available? |  |  | □ Y □ N □ N/A |  | Material: |  | □ Fiberglass
Ballon-framed? |  |  | □ Y □ N □ N/A |  |  |  | □ Cellulose
Wall Insulation grade: |  |  | Pass |  |  |  | Fail |  | □ N/A
|  |  | □ Grade I |  | □ Grade II |  | □ Grade III
|  |  | High Quality |  | Needs Improvement |  | Poor Quality
Notes:
Subspace - SWS 3.14 / 4.14
Crawlspace present? |  |  | □ Y □ N |  | Ground Vapor Barrier Install? |  |  | □ Y □ N □ N/A
Ground Vapor Barrier grade: |  |  | Pass |  |  |  | Fail |  | □ N/A
|  |  | □ Grade I |  | □ Grade II |  | □ Grade III
|  |  | High Quality |  | Needs Improvement |  | Poor Quality
Piers wrapped/Seams sealed? |  |  | □ Y □ N □ N/A |  | Subfloor air-sealed? |  |  | □ Y □ N □ N/A
Crawl Insulation grade: |  |  | Pass |  |  |  | Fail |  | □ N/A
|  |  | □ Grade I |  | □ Grade II |  | □ Grade III
|  |  | High Quality |  | Needs Improvement |  | Poor Quality
Floor insulated? |  | □ Y □ N | Wall insulated? |  | □ Y □ N | Band joist insulated? |  |  | □ Y □ N
Notes:
Doors & Windows - SWS 3.12
↓ Door(s) replaced? |  |  | □ Y □ N □ N/A |  | ↓ Door(s) repaired? |  |  | □ Y □ N □ N/A
□ Front □ Rear □ Side |  |  |  |  | □ Front □ Rear □ Side
Documentation present? |  |  | □ Y □ N □ N/A |  | Documentation present? |  |  | □ Y □ N □ N/A
Pictures? |  |  | □ Y □ N □ N/A |  | Pictures? |  |  | □ Y □ N □ N/A
↓ Window(s) replaced? |  |  | □ Y □ N □ N/A |  | ↓ Window(s) repaired? |  |  | □ Y □ N □ N/A
Documentation present? |  |  | □ Y □ N □ N/A |  | Documentation present? |  |  | □ Y □ N □ N/A
Pictures? |  |  | □ Y □ N □ N/A |  | Pictures? |  |  | □ Y □ N □ N/A
***Please provide detail in notes section regarding window location(s) repaired or replaced***
Notes:
Measure List and Invoice
All measures installed? |  |  | □ Y □ N | Invoice checked against materials used? |  |  |  |  | □ Y □ N
Measures checked against Standard Work Specifications? | [7 empty] | □ Y □ N
Proper documentation provided for discrepancies ? | [5 empty] | □ Y □ N | Follow-up needed? |  | □ Y □ N
Notes:
Software & Files
NEAT □ |  | MHEA □ |  | HEAT □ |  | Priority List □
Audit located in client file? |  |  | □ Y □ N □ N/A |  | All (ECM) measures >1 SIR |  |  | □ Y □ N □ N/A
Work order reviewed? |  |  | □ Y □ N □ N/A |  | Invoice(s) reviewed? |  |  | □ Y □ N □ N/A
Job Costs Agree With Billed Costs? |  |  | □ Y □ N |  | Complete File Documentation? |  |  |  | □ Y □ N
Documentation Properly Filled Out? |  |  | □ Y □ N |  | Documentation Properly Signed? |  |  | □ Y □ N
All diagnostic tests reviewed? |  |  |  | □ Y □ N | Signed Client Response? |  |  |  | □ Y □ N
Notes:
Client Interaction
All Wx materials removed from jobsite? |  |  |  | □ Y □ N | Dirt and debris cleaned before leaving? |  |  |  | □ Y □ N
Client Education provided? |  |  |  | □ Y □ N | All release forms signed? |  |  |  | □ Y □ N
Close-out interview conducted by QCI? |  |  |  | □ Y □ N | Any client complaints or issues? |  |  |  | □ Y □ N
Client complaints addressed? |  |  | □ Y □ N □ N/A |  | Follow-up needed with client? |  |  |  | □ Y □ N
Notes:
Corrective Action / Missed Opportunities
1.) Measure:
Issue:
Solution:
2.) Measure:
Issue:
Solution:
3.) Measure:
Issue:
Solution:
4.) Measure:
Issue:
Solution:
5.) Measure:
Issue:
Solution:
6.) Measure:
Issue:
Solution:
Additional Notes:
Sign off
_________________________Date:_____________ |  |  |  |  | BPI #___________________Exp.Date:____________
Quality Control Inspector |  |  |  |  | Credentials